## Introduction
This spreadsheet reports the data from the Large Combustion Plant Directive, as required under Approved Modification P226 and laid out in BSCP33.
|  | Approved Modification P226 | BSCP33
Large Combustion Plant Directive
The BM Unit Register contains a list and the details of all the BM Units under the BSC that are affected by the LCPD. The remainder of the report details the current Emission Limits of each Power Station, any transfers of these Limits in the year-to-date, and the status of any derogations under the LCPD.
| The values in this report are correct as at the end of |  | December 2015 | v1.0
If you have any comments or queries about the data in this spreadsheet, please contact lcpd@elexon.co.uk.

## BM Unit Register
BM Unit | Power Station | Primary Fuel | Party ID | Party Name | Status | LCP Ref
T_GRAI-1 | Grain | Oil | POWERGEN | E.ON UK plc | Opted Out
T_GRAI-2 | Grain | Oil | POWERGEN | E.ON UK plc | Opted Out
T_GRAI-3 | Grain | Oil | POWERGEN | E.ON UK plc | Opted Out
T_GRAI-4 | Grain | Oil | POWERGEN | E.ON UK plc | Opted Out
T_IRNPS-1 | Ironbridge | Coal | POWERGEN | E.ON UK plc | Opted Out
T_IRNPS-2 | Ironbridge | Coal | POWERGEN | E.ON UK plc | Opted Out
T_KINO-1 | Kingsnorth | Coal | POWERGEN | E.ON UK plc | Opted Out
T_KINO-2 | Kingsnorth | Coal | POWERGEN | E.ON UK plc | Opted Out
T_KINO-3 | Kingsnorth | Coal | POWERGEN | E.ON UK plc | Opted Out
T_KINO-4 | Kingsnorth | Coal | POWERGEN | E.ON UK plc | Opted Out
T_RATS-1 | Ratcliffe | Coal | POWERGEN | E.ON UK plc | Opted In under ELV
T_RATS-2 | Ratcliffe | Coal | POWERGEN | E.ON UK plc | Opted In under ELV
T_RATS-3 | Ratcliffe | Coal | POWERGEN | E.ON UK plc | Opted In under ELV
T_RATS-4 | Ratcliffe | Coal | POWERGEN | E.ON UK plc | Opted In under ELV
T_COTPS-1 | Cottam | Coal | COTPOWER | Jade Power Generation Ltd | Opted In under ELV
T_COTPS-2 | Cottam | Coal | COTPOWER | Jade Power Generation Ltd | Opted In under ELV
T_COTPS-3 | Cottam | Coal | COTPOWER | Jade Power Generation Ltd | Opted In under ELV
T_COTPS-4 | Cottam | Coal | COTPOWER | Jade Power Generation Ltd | Opted In under ELV
T_WBUPS-1 | West Burton | Coal | TXUWBUR | West Burton Limited | Opted In under ELV
T_WBUPS-2 | West Burton | Coal | TXUWBUR | West Burton Limited | Opted In under ELV
T_WBUPS-3 | West Burton | Coal | TXUWBUR | West Burton Limited | Opted In under ELV
T_WBUPS-4 | West Burton | Coal | TXUWBUR | West Burton Limited | Opted In under ELV
T_RUGPS-6 | Rugeley | Coal | TXURUGE | Rugeley Power Ltd | Opted In under ELV
T_RUGPS-7 | Rugeley | Coal | TXURUGE | Rugeley Power Ltd | Opted In under ELV
T_ABTH7 | Aberthaw | Coal | INNOGY01 | RWE Npower | Opted In under ELV
T_ABTH8 | Aberthaw | Coal | INNOGY01 | RWE Npower | Opted In under ELV
T_ABTH9 | Aberthaw | Coal | INNOGY01 | RWE Npower | Opted In under ELV
T_DIDC1 | Didcot A | Coal | INNOGY01 | RWE Npower | Opted Out
T_DIDC2 | Didcot A | Coal | INNOGY01 | RWE Npower | Opted Out
T_DIDC3 | Didcot A | Coal | INNOGY01 | RWE Npower | Opted Out
T_DIDC4 | Didcot A | Coal | INNOGY01 | RWE Npower | Opted Out
T_FAWL1 | Fawley | Oil | INNOGY01 | RWE Npower | Opted Out
T_FAWL3 | Fawley | Oil | INNOGY01 | RWE Npower | Opted Out
T_LITTD1 | Littlebrook | Oil | INNOGY01 | RWE Npower | Opted Out
T_LITTD2 | Littlebrook | Oil | INNOGY01 | RWE Npower | Opted Out
T_LITTD3 | Littlebrook | Oil | INNOGY01 | RWE Npower | Opted Out
T_TILB-7 | Tilbury | Coal | INNOGY01 | RWE Npower | Opted Out
T_TILB-8 | Tilbury | Coal | INNOGY01 | RWE Npower | Opted Out
T_TILB-9 | Tilbury | Coal | INNOGY01 | RWE Npower | Opted Out
T_TILB10 | Tilbury | Coal | INNOGY01 | RWE Npower | Opted Out
T_FERR-1 | Ferrybridge | Coal | KGL | Keadby Generation Limited | Opted Out
T_FERR-2 | Ferrybridge | Coal | KGL | Keadby Generation Limited | Opted Out
T_FERR-3 | Ferrybridge | Coal | KGL | Keadby Generation Limited | Opted In under ELV
T_FERR-4 | Ferrybridge | Coal | KGL | Keadby Generation Limited | Opted In under ELV
T_FIDL-1 | Fiddler's Ferry | Coal | KGL | Keadby Generation Limited | Opted In under ELV
T_FIDL-2 | Fiddler's Ferry | Coal | KGL | Keadby Generation Limited | Opted In under ELV
T_FIDL-3 | Fiddler's Ferry | Coal | KGL | Keadby Generation Limited | Opted In under ELV
T_FIDL-4 | Fiddler's Ferry | Coal | KGL | Keadby Generation Limited | Opted In under ELV
T_USKM-13 | Uskmouth | Coal | USKMOUTH | Uskmouth Power Company Limited | Opted In under ELV
T_USKM-14 | Uskmouth | Coal | USKMOUTH | Uskmouth Power Company Limited | Opted In under ELV
T_USKM-15 | Uskmouth | Coal | USKMOUTH | Uskmouth Power Company Limited | Opted In under ELV
T_COCK-1 | Cockenzie | Coal | SPGEN01 | SP Generation Ltd | Opted Out |  | Cockenzie Power Station Closed on 31/03/2013
T_COCK-2 | Cockenzie | Coal | SPGEN01 | SP Generation Ltd | Opted Out |  | Cockenzie Power Station Closed on 31/03/2013
T_COCK-3 | Cockenzie | Coal | SPGEN01 | SP Generation Ltd | Opted Out |  | Cockenzie Power Station Closed on 31/03/2013
T_COCK-4 | Cockenzie | Coal | SPGEN01 | SP Generation Ltd | Opted Out |  | Cockenzie Power Station Closed on 31/03/2013
T_DRAXX-1 | Drax | Coal | DRAX | Drax Power Ltd | Opted In under NERP | 1
T_DRAXX-2 | Drax | Coal | DRAX | Drax Power Ltd | Opted In under NERP | 1
T_DRAXX-3 | Drax | Coal | DRAX | Drax Power Ltd | Opted In under NERP | 1
T_DRAXX-4 | Drax | Coal | DRAX | Drax Power Ltd | Opted In under NERP | 1
T_DRAXX-5 | Drax | Coal | DRAX | Drax Power Ltd | Opted In under NERP | 1
T_DRAXX-6 | Drax | Coal | DRAX | Drax Power Ltd | Opted In under NERP | 1
T_EGGPS-1 | Eggborough | Coal | EPL001 | Eggborough Power Limited | Opted In under NERP | 2
T_EGGPS-2 | Eggborough | Coal | EPL001 | Eggborough Power Limited | Opted In under NERP | 2
T_EGGPS-3 | Eggborough | Coal | EPL001 | Eggborough Power Limited | Opted In under NERP | 2
T_EGGPS-4 | Eggborough | Coal | EPL001 | Eggborough Power Limited | Opted In under NERP | 2
T_PEHE-1 | Peterhead | Gas | SSEGEN | SSE Generation Ltd | Opted In under NERP | 3
T_PEHE-2 | Peterhead | Gas | SSEGEN | SSE Generation Ltd | Opted In under NERP | 3
T_LOAN-1 | Longannet | Coal | SPGEN01 | SP Generation Ltd | Opted In under NERP | 4
T_LOAN-2 | Longannet | Coal | SPGEN01 | SP Generation Ltd | Opted In under NERP | 4
T_LOAN-3 | Longannet | Coal | SPGEN01 | SP Generation Ltd | Opted In under NERP | 4
T_LOAN-4 | Longannet | Coal | SPGEN01 | SP Generation Ltd | Opted In under NERP | 4
T_WILCT-1 | Wilton |  | EAGLE2 | Sembcorp Utilities (UK) Ltd | Opted In under NERP | 74

## SO2 Emissions
Large Combustion Plant |  |  |  | SO2 Limits (tonnes) |  |  | Comments
| Name | Lead Party ID | LCP Ref | A Limit | Current B/NERP Limit | Transfers (year to date)
ELV/Opt-Out | Grain | POWERGEN |  | 25000 | 300 |  | Closed
| Ironbridge | POWERGEN |  | 34300 | 8676
| Kingsnorth | POWERGEN |  | 68500 | 26900 |  | Closed
| Ratcliffe | POWERGEN |  | 50000 | 18000
| Cottam | COTPOWER |  | 61000 | 13584
| West Burton | TXUWBUR |  | 30000 | 22164
| Rugeley | TXURUGE |  | 34300 | 8964 |  | Has now left Article 5(1)
| Aberthaw | INNOGY01 |  | 39000 | 14769 |  | Has now left Article 5(1)
| Didcot A | INNOGY01 |  | 67000 | 8542 |  | Closed
| Fawley | INNOGY01 |  | 9000 | 0 |  | Closed. Opted to operate <10,000hrs under Annex VIII 2)
| Littlebrook | INNOGY01 |  | 13000 | 2421 |  | Opted to operate <10,000hrs under Annex VIII 2)
| Tilbury | INNOGY01 |  | 23200 | 9450 |  | Closed
| Ferrybridge | KGL |  | 55900 | 8824.5 |  | Has now left Article 5(1)
| Fiddlers Ferry | KGL |  | 44600 | 17644 |  | Has now left Article 5(1)
| Uskmouth | USKMOUTH |  | 3500 | 3267 |  | Closed
| Cockenzie | SPGEN01 |  | - | - | - | Closed
NERP | Drax | DRAX | 1 | - | 333563
| Eggborough | EPL001 | 2 | - | 13240
| Peterhead | SSEGEN | 3 | - | 815
| Longannet | SPGEN01 | 4 | - | 13845
| Wilton | EAGLE2 | 74 | - | 706
Note: The LCP Ref is as defined in the NERP and only applies to NERP Plants |  |  |  | Note: The B Limit applies to ELV/Opt-Out Plants and the NERP Limit applies to NERP Plants

## NOx Emissions
Large Combustion Plant |  |  |  | NOx Limits (tonnes) |  |  | Comments
| Name | Lead Party ID | LCP Ref | A Limit | Current B/NERP Limit | Transfers (year to date)
ELV/Opt-Out | Grain | POWERGEN |  | 12000 | 200 |  | Closed
| Ironbridge | POWERGEN |  | 26300 | 6266
| Kingsnorth | POWERGEN |  | 32000 | 15200 |  | Closed
| Ratcliffe | POWERGEN |  | 40000 | 25400
| Cottam | COTPOWER |  | 26000 | 26000
| West Burton | TXUWBUR |  | 26000 | 24444
| Rugeley | TXURUGE |  | 19800 | 12649 |  | Has now left Article 5(1)
| Aberthaw | INNOGY01 |  | 36000 | 33000 |  | Has now left Article 5(1)
| Didcot A | INNOGY01 |  | 27500 | 3034 |  | Closed
| Fawley | INNOGY01 |  | 5400 | 0 |  | Closed. Opted to operate <10,000hrs under Annex VIII 2)
| Littlebrook | INNOGY01 |  | 11200 | 12750 |  | Opted to operate <10,000hrs under Annex VIII 2)
| Tilbury | INNOGY01 |  | 20300 | 6825 |  | Closed
| Ferrybridge | KGL |  | 31800 | 15490.2 |  | Has now left Article 5(1)
| Fiddlers Ferry | KGL |  | 22800 | 21860 |  | Has now left Article 5(1)
| Uskmouth | USKMOUTH |  | 3500 | 4610 |  | Closed
| Cockenzie | SPGEN01 |  | - | - | - | Closed
NERP | Drax | DRAX | 1 | - | 41901
| Eggborough | EPL001 | 2 | - | 13371
| Peterhead | SSEGEN | 3 | - | 4124
| Longannet | SPGEN01 | 4 | - | 17533
| Wilton | EAGLE2 | 74 | - | 1565
Note: The LCP Ref is as defined in the NERP and only applies to NERP Plants |  |  |  | Note: The B Limit applies to ELV/Opt-Out Plants and the NERP Limit applies to NERP Plants

## PM Emissions
Large Combustion Plant |  |  |  | PM Limits (tonnes) |  |  | Comments
| Name | Lead Party ID | LCP Ref | A Limit | Current B/NERP Limit | Transfers (year to date)
ELV/Opt-Out | Grain | POWERGEN |  | - | - |  | Closed
| Ironbridge | POWERGEN |  | - | -
| Kingsnorth | POWERGEN |  | - | - |  | Closed
| Ratcliffe | POWERGEN |  | - | -
| Cottam | COTPOWER |  | - | -
| West Burton | TXUWBUR |  | - | -
| Rugeley | TXURUGE |  | - | - |  | Has now left Article 5(1)
| Aberthaw | INNOGY01 |  | - | - |  | Has now left Article 5(1)
| Didcot A | INNOGY01 |  | - | - |  | Closed
| Fawley | INNOGY01 |  | - | - |  | Closed. Opted to operate <10,000hrs under Annex VIII 2)
| Littlebrook | INNOGY01 |  | - | - |  | Opted to operate <10,000hrs under Annex VIII 2)
| Tilbury | INNOGY01 |  | - | - |  | Closed
| Ferrybridge | KGL |  | - | - |  | Has now left Article 5(1)
| Fiddlers Ferry | KGL |  | - | - |  | Has now left Article 5(1)
| Uskmouth | USKMOUTH |  | - | - |  | Closed
| Cockenzie | SPGEN01 |  | - | - | - | Closed
NERP | Drax | DRAX | 1 | - | 4195
| Eggborough | EPL001 | 2 | - | 933
| Peterhead | SSEGEN | 3 | - | 114
| Longannet | SPGEN01 | 4 | - | 1732
| Wilton | EAGLE2 | 74 | - | 346
Note: The LCP Ref is as defined in the NERP and only applies to NERP Plants |  |  |  | Note: The B Limit applies to ELV/Opt-Out Plants and the NERP Limit applies to NERP Plants

## Transfers
Transfer Details |  |  |  |  | Transfer Amount (tonnes)
Divesting Operator | Acquiring Operator | Scheme | Pollutant | Transfer Date | Transfer Amount | New B/NERP Limit - Divesting Operator | New B/NERP Limit - Acquiring Operator
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-01-21 | 2000 |  | 15845
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-01-21 | 3000 |  | 18845
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-01-21 | 1000 |  | 19845
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-01-24 | 1000 |  | 20845
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-01-24 | 700 |  | 21545
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-01-24 | 500 |  | 22045
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-01-24 | 1800 |  | 23845
Petroplus Refining Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-03-25 | 1178 |  | 25023
Petroplus Refining Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-03-25 | 572 |  | 25595
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-03-29 | 500 |  | 26095
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | NOx | 2011-03-29 | 300 |  | 17833
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | NOx | 2011-03-29 | 1200 |  | 19033
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-03-29 | 500 |  | 26595
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-03-29 | 500 |  | 27095
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-03-29 | 500 |  | 27595
ConocoPhillips Petroleum Company UK | Scottish Power Generation Limited | NERP | SO2 | 2011-04-15 | 850 |  | 28445
ConocoPhillips Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-04-15 | 1700 |  | 30145
ConocoPhillips Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-04-15 | 800 |  | 30945
ConocoPhillips Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-04-15 | 250 |  | 31195
Total Lindsey Oil Refinery Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-04-29 | 1000 |  | 32195
Total Lindsey Oil Refinery Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-04-29 | 1000 |  | 33195
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | NOx | 2011-05-23 | 200 |  | 19233
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | NOx | 2011-05-23 | 400 |  | 19633
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | NOx | 2011-05-23 | 300 |  | 19933
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | NOx | 2011-05-23 | 100 |  | 20033
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | NOx | 2011-05-23 | 500 |  | 20533
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-08-30 | 400 |  | 33595
Tata Steel UK Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-08-30 | 100 |  | 33695
ConocoPhillips Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-08-31 | 200 |  | 33895
ConocoPhillips Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-08-31 | 100 |  | 33995
ConocoPhillips Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-08-31 | 50 |  | 34045
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-08-31 | 300 |  | 34345
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-08-31 | 200 |  | 34545
Ineos Manufacturing Scotland Limited | Scottish Power Generation Limited | NERP | SO2 | 2011-08-31 | 350 |  | 34895
Murco Petroleum Ltd | Scottish Power Generation Limited | NERP | SO2 | 2011-09-23 | 2600 |  | 37495
Valero Energy Ltd | Scotish Power Generation Limited | NERP | SO2 | 2011-11-18 | 1450 |  | 38945
Scotish Power Generation Limited | Valero Energy Ltd | NERP | NOx | 2011-11-18 | 55 | 20478
Total Lindsey Oil Refinery Ltd | Scotish Power Generation Limited | NERP | SO2 | 2011-11-30 | 700 |  | 40245
Total Lindsey Oil Refinery Ltd | Scotish Power Generation Limited | NERP | SO2 | 2011-11-30 | 700 |  | 40945
ConocoPhillips Ltd | Scotish Power Generation Limited | NERP | SO2 | 2011-12-29 | 55 |  | 41000
ConocoPhillips Ltd | Scotish Power Generation Limited | NERP | SO2 | 2011-12-29 | 30 |  | 41030
ConocoPhillips Ltd | Scotish Power Generation Limited | NERP | SO2 | 2011-12-29 | 35 |  | 41065
ConocoPhillips Ltd | Scotish Power Generation Limited | NERP | SO2 | 2011-12-29 | 25 |  | 41090
Scottish Power Generation Limited | Valero Energy Ltd | NERP | NOx | 2012-03-19 | 35 | 20443
LCP39- Ineos Infrastructure (Grangemouth) Limited | LCP202- Eggborough Power Ltd | NERP | SO2 | 2012-05-29 | 275 | 137 | 11688
LCP40- Ineos Infrastructure (Grangemouth) Limited | LCP202- Eggborough Power Ltd | NERP | SO2 | 2012-05-29 | 752 | 25 | 12440
LCP40- Ineos Infrastructure (Grangemouth) Limited | LCP202- Eggborough Power Ltd | NERP | NOx | 2012-05-29 | 400 | 917 | 13771
LCP41- Ineos Infrastructure (Grangemouth) Limited | LCP202- Eggborough Power Ltd | NERP | SO2 | 2012-05-29 | 673 | 414 | 11413
LCP45 - Murco Petroleum Ltd | LCP202- Eggborough Power Ltd | NERP | SO2 | 2012-07-30 | 2800 | 32 | 15240
LCP45 - Murco Petroleum Ltd | LCP202- Eggborough Power Ltd | NERP | NOx | 2012-07-30 | 200 | 681 | 13971
LCP77 - No1 Aromatics, North tees | LCP01- Drax Power Ltd | NERP | SO2 | 2012-07-30 | 1000 | 1493 | 34563
LCP39: INEOS Infrastructure (Grangemouth) Ltd (Boilers 9&10) | LCP02: Eggborough Power Plant | NERP | SO2 | 2013-02-08 | 2000 | 412 | 12740
LCP40: INEOS Infrastructure (Grangemouth) Ltd (Boilers 11,12&13) | LCP02: Eggborough Power Plant | NERP | SO2 | 2013-02-08 | 2000 | 1777 | 14740
LCP41: INEOS Infrastructure (Grangemouth) Ltd (Boilers 14&15) | LCP02: Eggborough Power Plant | NERP | SO2 | 2013-02-08 | 1000 | 1087 | 15740
LCP41: INEOS Infrastructure (Grangemouth) Ltd (Boilers 14&15) | LCP02: Eggborough Power Plant | NERP | SO2 | 2013-02-15 | 1500 | 1087 | 17240
LCP40: INEOS Infrastructure (Grangemouth) Ltd (Boilers 11,12&13) | LCP02: Eggborough Power Plant | NERP | NOx | 2013-02-15 | 1200 | 467 | 14571
LCP54:Tata Steel UK Ltd. Scunthorpe Works 1 (Central Power Station) | LCP02: Eggborough Power Plant | NERP | NOx | 2013-03-14 | 800 | 89 | 15371
LCP61: Tata Steel UK Ltd. Port Talbot Works (No 6&7 Boilers) | LCP02: Eggborough Power Plant | NERP | NOx | 2013-03-14 | 800 | 129 | 16171
LCP55: Tata Steel UK Ltd. Scunthorpe Works 2 (TBH 1-4) | LCP02: Eggborough Power Plant | NERP | NOx | 2013-03-14 | 400 | 116 | 16571
LCP61: Tata Steel UK Ltd. Port Talbot Works (No. 6&7 Boilers) | LCP02: Eggborough Power Plant | NERP | SO2 | 2013-03-14 | 2000 | 219 | 21240
LCP54:Tata Steel UK Ltd. Scunthorpe Works 1 (Central Power Station) | LCP02: Eggborough Power Plant | NERP | SO2 | 2013-03-14 | 2000 | 528 | 19240
LCP02 - Eggborough Power Station | LCP08: Morzine Limited | NERP | SO2 | 2013-03-28 | 129 | 16011 | -7
LCP45: Murco Petroleum Limited (Milford Haven Refinery 2 (Duct B,C,D) | LCP02: Eggborough Power Limited | NERP | NOx | 2013-05-10 | 500 | 317 | 17071
LCP52: Valero Energy Ltd (Pembroke Plant (A11/A12) | LCP04: Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2013-08-22 | 1000 | 91 | 22595
LCP48: Valero Energy Ltd (Pembroke Plant (A1/A2) | LCP04: Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2013-08-22 | 500 | 536 | 23095
LCP77: SABIC U.K Petrochemicals Ltd (No 1 Aromatics, North Tees) | LCP01: Drax Power Limited (Drax Power Station) | NERP | SO2 | 2013-08-23 | 1000 | 1493 | 34563
LCP39: INEOS Infrastructure (Grangemouth) Ltd (Boilers 9&10) | LCP02: Eggborough Power Limited | NERP | NOx | 2013-10-04 | 100 | 538 | 17171
LCP41: INEOS Infrastructure (Grangemouth) Ltd (Boilers 14&15) | LCP02: Eggborough Power Limited | NERP | NOx | 2013-10-04 | 150 | 723 | 17321
LCP44: Murco Petroleum Limited (Milford Haven Refinery 1 (Duct A) | LCP02: Eggborough Power Limited | NERP | NOx | 2013-10-04 | 150 | 95 | 17471
LCP22: Total Lindsey Oil Refinery (Lindsey Oil Refinery - (A1) South Stack) | LCP02: Eggborough Power Limited | NERP | NOx | 2013-10-24 | 200 | 345 | 17671
LCP24: Total Lindsey Oil Refinery (Lindsey Oil Refinery - Stage 3/4 (A3)) | LCP02: Eggborough Power Limited | NERP | NOx | 2013-10-24 | 200 | 272 | 17871
LCP25: Total Lindsey Oil Refinery (Lindsey Oil Refinery - (A4,5&6) West A,B,C) | LCP02: Eggborough Power Limited | NERP | NOx | 2013-10-24 | 400 | 440 | 18271
LCP49: Valero Energy Ltd (Pembroke Refinery) | Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2013-12-19 | 500 | 522 | 26895
LCP54: Tata Steel UK Ltd. Scunthorpe Works 1 (Central Power Station) | LCP02: Eggborough Power Limited | NERP | SO2 | 2014-02-28 | 2500 | 28 | 13240
LCP54: Tata Steel UK Ltd. Scunthorpe Works 1 (Central Power Station) | LCP02: Eggborough Power Limited | NERP | NOx | 2014-02-28 | 850 | 39 | 14221
LCP55: Tata Steel UK Ltd. Scunthorpe Works 2 (TBH 1-4) | LCP02: Eggborough Power Limited | NERP | NOx | 2014-02-28 | 500 | 16 | 14721
LCP56: Tata Steel UK Ltd., Scunthorpe Works 3, (TBH 5&6) | LCP02: Eggborough Power Limited | NERP | NOx | 2014-02-28 | 350 | 7 | 15071
LCP55: Tata Steel UK Ltd. Scunthorpe Works 2 (TBH 1-4) | LCP87A: Lynemouth Power Limited | NERP | SO2 | 2014-03-20 | 1200 | 187 | 5442
LCP56: Tata Steel UK Ltd., Scunthorpe Works 3, (TBH 5&6) | LCP87A: Lynemouth Power Limited | NERP | SO2 | 2014-03-20 | 800 | 160 | 6242
LCP61: Tata Steel UK Ltd. Port Talbot Works (No 6&7 Boilers) | LCP87A: Lynemouth Power Limited | NERP | SO2 | 2014-03-20 | 2000 | 219 | 8242
LCP51: Valero Energy Ltd (Pembroke Plant) (A7/A8/A9/A10) | LCP04: Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2014-03-27 | 1000 | 1127 | 14845
LCP39: INEOS Infrastructure (Grangemouth) Ltd (Boilers 9&10) | LCP04: Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2014-04-11 | 350 | 2062 | 15195
LCP40: INEOS Infrastructure (Grangemouth) Ltd (Boilers 11,12&13) | LCP04: Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2014-04-11 | 1300 | 2477 | 16495
LCP41: INEOS Infrastructure (Grangemouth) Ltd (Boilers 14&15) | LCP04: Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2014-04-11 | 1350 | 737 | 17845
LCP39: INEOS Infrastructure (Grangemouth) Ltd (Boilers 9&10) | LCP87A: Lynemouth Power Limited | NERP | SO2 | 2014-04-15 | 2000 | 62 | 10242
LCP40: INEOS Infrastructure (Grangemouth) Ltd (Boilers 11,12&13) | LCP87A: Lynemouth Power Limited | NERP | SO2 | 2014-04-15 | 2000 | 477 | 12242
LCP22: Total Lindsey Oil Refinery (Lindsey Oil Refinery - (A1) South Stack) | LCP04: Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2014-05-28 | 1000 | 339 | 18845
LCP25: Total Lindsey Oil Refinery (Lindsey Oil Refinery - (A4,5&6) West A,B,C) | LCP04: Scottish Power Generation Limited (Longannet Power Station) | NERP | SO2 | 2014-05-28 | 1000 | 889 | 19845
LCP40: Ineos Infrastructure (Grangemouth) Limited (Grangemouth Infrastructure (Boilers 11,12&13)) | LCP66: INEOS Nitriles (UK) Limited (Seal Sands 3) | NERP | SO2 | 2014-10-31 | 90 | 387 | 214
LCP40: Ineos Infrastructure (Grangemouth) Limited (Grangemouth Infrastructure (Boilers 11,12&13)) | LCP66: INEOS Nitriles (UK) Limited (Seal Sands 3) | NERP | NOx | 2014-10-31 | 410 | 907 | 498
LCP40: Ineos Infrastructure (Grangemouth) Limited (Grangemouth Infrastructure (Boilers 11,12&13)) | LCP66: INEOS Nitriles (UK) Limited (Seal Sands 3) | NERP | PM | 2014-10-31 | 35 | 111 | 39
LCP69: British Sugar (Wissington Sugar Factory) | LCP73: British Sugar (Newark Sugar Factory) | NERP | NOx | 2015-01-13 | 88 | 22 | 167
LCP2: Eggborough Power Limited (Eggborough Power Station) | LCP87A: Lynemouth Power Limited (Lynemouth Power Station) | NERP | NOx | 2015-02-05 | 1300 | 13771 | 6598
LCP2: Eggborough Power Limited (Eggborough Power Station) | LCP87A: Lynemouth Power Limited (Lynemouth Power Station) | NERP | PM | 2015-02-05 | 350 | 992 | 880
LCP74: Sembcorp Utilities UK Limited (Wilton) | LCP87A: Lynemouth Power Limited (Lynemouth Power Station) | NERP | NOx | 2015-02-06 | 1300 | 1565 | 7898
LCP74: Sembcorp Utilities UK Limited (Wilton) | LCP87A: Lynemouth Power Limited (Lynemouth Power Station) | NERP | SO2 | 2015-02-06 | 4772 | 706 | 17014
LCP66: INEOS Nitriles (UK) Limited (Seal Sands 3) | LCP65: INEOS Nitriles (UK) Limited (Seal Sands 2) | NERP | PM | 2015-02-04 | 5 | 34 | 10
LCP65: INEOS Nitriles (UK) Limited (Seal Sands 2) | LCP66: INEOS Nitriles (UK) Limited (Seal Sands 3) | NERP | SO2 | 2015-02-04 | 60 | 95 | 274
LCP49: Valero Energy Limited (Pembroke Plant (A3/A4)) | LCP48: Valero Energy Limited (Pembroke Plant (A1/A2)) | NERP | PM | 2015-02-23 | 7 | 57 | 52
LCP14: Esso Petroleum Co Limited (Fawley Refinery (SP4)) | LCP20: Esso Petroleum Co Limited (Fawley Refinery (PS/PV-1)) | NERP | SO2 | 2015-03-12 | 400 | 4025 | 802
LCP14: Esso Petroleum Co Limited (Fawley Refinery (SP4)) | LCP15: Esso Petroleum Co Limited (Fawley Refinery (PS/PV3)) | NERP | NOx | 2015-03-12 | 120 | 1871 | 586
LCP14: Esso Petroleum Co Limited (Fawley Refinery (SP4)) | LCP17: Esso Petroleum Co Limited (Fawley Refinery (PH-2)) | NERP | NOx | 2015-03-12 | 80 | 1791 | 356
LCP14: Esso Petroleum Co Limited (Fawley Refinery (SP4)) | LCP15: Esso Petroleum Co Limited (Fawley Refinery (PS/PV3)) | NERP | PM | 2015-03-12 | 26 | 195 | 47
LCP14: Esso Petroleum Co Limited (Fawley Refinery (SP4)) | LCP18: Esso Petroleum Co Limited (Fawley Refinery (ENSR)) | NERP | PM | 2015-03-12 | 5 | 190 | 7
LCP14: Esso Petroleum Co Limited (Fawley Refinery (SP4)) | LCP20: Esso Petroleum Co Limited (Fawley Refinery (PS/PV-1)) | NERP | PM | 2015-03-12 | 1 | 189 | 3
LCP10: Phillips 66 Limited (Humber Refinery - South Killingholme 2 (ST301)) | LCP28: Conoco Philips (Seal Sands) | NERP | NOx | 2015-03-18 | 44 | 545 | 309
LCP10: Phillips 66 Limited (Humber Refinery - South Killingholme 2 (ST301)) | LCP9: Phillips 66 Limited (Humber Refinery - South Killingholme 1 (ST101)) | NERP | NOx | 2015-03-18 | 140 | 405 | 361
LCP2: Eggborough Power Limited (Eggborough Power Station) | LCP53: Sahaviriya Steel Industries UK Limited (Teeside Works, Redcar) | NERP | PM | 2015-03-20 | 59 | 933 | 152
LCP59: Tata Steel UK Limited (Port Talbot 2 (Mitchell Boiler)) | LCP61: Tata Steel UK Limited (Port Talbot 4 (6&7 Boiler)) | NERP | SO2 | 2015-03-23 | 320 | 255 | 539
LCP59: Tata Steel UK Limited (Port Talbot 2 (Mitchell Boiler)) | LCP56: Tata Steel UK Limited (Scunthorpe Works 3 (Turbo Blower House Boilers 5-6)) | NERP | NOx | 2015-03-23 | 10 | 202 | 17
LCP61: Tata Steel UK Limited (Port Talbot 4 (6&7 Boiler)) | LCP54: Tata Steel UK Limited (Scunthorpe Works 1 (Central Power Station)) | NERP | NOx | 2015-03-23 | 80 | 849 | 119
LCP58: Tata Steel UK Limited (Port Talbot 1 (Service Boilers) ) | LCP55: Tata Steel UK Limited (Scunthorpe Works 2 (Turbo Blower House Boilers 1-4)) | NERP | NOx | 2015-03-23 | 6 | 246 | 22
LCP58: Tata Steel UK Limited (Port Talbot 1 (Service Boilers) ) | LCP54: Tata Steel UK Limited (Scunthorpe Works 1 (Central Power Station)) | NERP | SO2 | 2015-03-23 | 275 | 411 | 303
Note: Operators in italics are part of the relevant scheme but the relevant LCPs are not reported in this spreadsheet

## Derogations
Large Combustion Plant |  |  | Derogations In Effect | [5 empty] | Comments | Derogations Requested
Name | Lead Party ID | Scheme | Type | Start Date | End Date | Maximum Hours | Cumulative Hours | Remaining Hours |  | Type | Start Date | End Date | Requested Hours | Status
Grain | POWERGEN | OPT-OUT | VIII(A2) | 2008-01-01 | 2012-12-31 | 10000 | 1230.04 | 8769.96 | Closed
Ironbridge | POWERGEN | OPT-OUT | 4(4) | 2008-01-01 | 2015-12-31 | 20000 | 19999.46 | 0.54
Kingsnorth | POWERGEN | OPT-OUT | 4(4) | 2008-01-01 | 2012-12-17 | 20000 | 20000 | 0 | Closed
Ratcliffe | POWERGEN | ELV
Cottam | COTPOWER | ELV
West Burton | TXUWBUR | ELV
Rugeley | TXURUGE | ELV |  |  | 2008-11-21 | 1086 | 960.48 | 125.52 | Has now left Article 5(1)
Aberthaw | INNOGY01 | ELV |  |  | 2008-03-18 | 521 | 516 | 5 | Has now left Article 5(1)
Didcot A | INNOGY01 | OPT-OUT | 4(4) | 2008-01-01 | 2015-12-31 | 20000 | 20000 | 0 | Closed
Fawley | INNOGY01 | OPT-OUT | VIII(A2) | 2008-01-01 | 2015-12-31 | 10000 | 837.25 | 9162.75 | Closed. Opted to operate <10,000hrs under Annex VIII 2)
Littlebrook | INNOGY01 | OPT-OUT | VIII(A2) | 2008-01-01 | 2015-12-31 | 10000 | 1325.37 | 8674.63 | Opted to operate <10,000hrs under Annex VIII 2)
Tilbury LCP 1 Boilers 7 & 8 | INNOGY01 | OPT-OUT | 4(4) | 2008-01-01 | 2015-12-31 | 20000 | 19919.98 | 80.02 | Closed
Tilbury LCP 2 Boilers 9 & 10 | INNOGY01 | OPT-OUT | 4(4) | 2008-01-01 | 2015-12-31 | 20000 | 19994.09 | 5.91 | Closed
Ferrybridge C Unit 1 & 2 | KGL | OPT-OUT | 4(4) | 2008-01-01 | 2015-12-31 | 20000 | 20000 | 0 | Corrected to include 102.03hrs during Jan-May 08, Closed
Ferrybridge C Unit 3 & 4 | KGL | ELV |  |  | 2009-02-07 | 2294 | 2293.73 | 0.27 | Has now left Article 5(1)
Fiddlers Ferry | KGL | ELV |  |  | 2009-01-07 | 2059 | 2058.82 | 0.18 | Has now left Article 5(1)
Uskmouth | USKMOUTH | ELV | [6 empty] | Closed
Cockenzie LCP 1 Units 1 & 2 | SPGEN01 | OPT-OUT | 4(4) | 2008-01-01 | 2015-12-31 | 20000 | 19999.98 | 0.02 | Closed 31/03/2013
Cockenzie LCP 2 Units 3 & 4 | SPGEN01 | OPT-OUT | 4(4) | 2008-01-01 | 2015-12-31 | 20000 | 19999.98 | 0.02 | Closed 31/03/2013
Drax | DRAX | NERP
Eggborough | EPL001 | NERP
Peterhead | SSEGEN | NERP
Longannet | SPGEN01 | NERP
Wilton | EAGLE2 | NERP
Note: The Derogation Type is the section of the LCPD that the Derogation is derived from